## Warnings
Warning Count | Warning
216 | Highlighted walls overlap. One of them may be ignored when Revit finds room boundaries. Use Cut Geometry to embed one wall within the other or tab-select one of the grouped overlapping walls and exclude it from the group instance.
38 | Design Option "RDWI - Roof - Project 1 v/s 4 : Base Bid (Whole Roof) (primary)" cannot reference Design Option "skylights : SD oval".
36
3 | Highlighted walls overlap. One of them may be ignored when Revit finds room boundaries. Use Cut Geometry to embed one wall within the other.
1 | There are identical instances in the same place. This will result in double counting in schedules.

## Warning Details
Warning Detail
Highlighted walls overlap. One of them may be ignored when Revit finds room boundaries. Use Cut Geometry to embed one wall within the other or tab-select one of the grouped overlapping walls and exclude it from the group instance.
1591023
1616201
1591086
1615425
1591087
1615426
1591101
1615440
1591135
1615474
1591136
1615475
1591150
1615489
1591184
1615523
1591185
1615524
1591199
1615538
1591233
1615572
1591234
1615573
1591248
1615587
1591282
1615621
1591283
1615622
1591297
1615636
1591331
1615670
1591332
1615671
1591346
1615685
1591380
1615719
1591381
1615720
1591395
1615734
1591429
1615768
1591430
1615769
1591444
1615783
1591478
1615817
1591479
1615818
1591493
1615832
1591876
1616215
1591890
1616229
1591904
1616243
1591918
1616257
1591932
1616271
1591946
1616285
1591960
1616299
1591974
1616313
1591988
1616327
1592179
1615425
1592180
1615426
1592194
1615440
1592228
1615474
1592229
1615475
1592243
1615489
1592277
1615523
1592278
1615524
1592292
1615538
1592326
1615572
1592327
1615573
1592341
1615587
1592375
1615621
1592376
1615622
1592390
1615636
1592424
1615670
1592425
1615671
1592439
1615685
1592473
1615719
1592474
1615720
1592488
1615734
1592522
1615768
1592523
1615769
1592537
1615783
1592571
1615817
1592572
1615818
1592586
1615832
1592969
1616215
1592983
1616229
1592997
1616243
1593011
1616257
1593025
1616271
1593039
1616285
1593053
1616299
1593067
1616313
1593081
1616327
1593200
1593596
1593200
1616201
1593214
1615376
1593215
1615377
1593229
1615391
1593263
1615866
1593264
1615867
1593278
1615881
1593312
1615915
1593313
1615916
1593326
1615929
1593327
1615930
1593357
1615960
1593358
1615961
1593371
1615974
1593372
1615975
1593402
1616005
1593403
1616006
1593416
1616019
1593417
1616020
1593447
1616050
1593448
1616051
1593461
1616064
1593462
1616065
1593492
1616095
1593493
1616096
1593506
1616109
1593507
1616110
1593537
1616140
1593538
1616141
1593551
1616154
1593552
1616155
1593582
1616187
1593596
1615362
1593596
1616201
1615362
1616201
1615362
2654477
1615376
2653654
1615377
2653655
1615391
2653669
1615425
1632899
1615425
2653703
1615426
1632900
1615426
2653704
1615440
1632914
1615440
2653718
1615474
1632948
1615474
2653752
1615475
1632949
1615475
2653753
1615489
1632963
1615489
2653767
1615523
1632997
1615523
2653801
1615524
1632998
1615524
2653802
1615538
1633012
1615538
2653816
1615572
1633046
1615572
2653850
1615573
1633047
1615573
2653851
1615587
1633061
1615587
2653865
1615621
1633095
1615621
2653899
1615622
1633096
1615622
2653900
1615636
1633110
1615636
2653914
1615670
1633144
1615670
2653948
1615671
1633145
1615671
2653949
1615685
1633159
1615685
2653963
1615719
1633193
1615719
2653997
1615720
1633194
1615720
2653998
1615734
1633208
1615734
2654012
1615768
1633242
1615768
2654046
1615769
1633243
1615769
2654047
1615783
1633257
1615783
2654061
1615817
1633291
1615817
2654095
1615818
1633292
1615818
2654096
1615832
1633306
1615832
2654110
1615866
2654144
1615867
2654145
1615881
2654159
1615915
2654193
1615916
2654194
1615929
2654207
1615930
2654208
1615960
2654238
1615961
2654239
1615974
2654252
1615975
2654253
1616005
2654283
1616006
2654284
1616019
2654297
1616020
2654298
1616050
2654328
1616051
2654329
1616064
2654342
1616065
2654343
1616095
2654373
1616096
2654374
1616109
2654387
1616110
2654388
1616140
2654418
1616141
2654419
1616154
2654432
1616155
2654433
1616187
2654463
1616201
2653640
1616201
2654477
1616215
1633340
1616215
2654491
1616229
1633354
1616229
2654505
1616243
1633368
1616243
2654519
1616257
1633382
1616257
2654533
1616271
1633396
1616271
2654547
1616285
1633410
1616285
2654561
1616299
1633424
1616299
2654575
1616313
1633438
1616313
2654589
1616327
1633452
1616327
2654603
2653640
2654477
Design Option "RDWI - Roof - Project 1 v/s 4 : Base Bid (Whole Roof) (primary)" cannot reference Design Option "skylights : SD oval".
1591023
1615376
1591023
1615391
1591086
1615426
1591086
1616215
1591087
1615440
1591101
1616215
1591135
1615475
1591135
1616229
1591136
1615489
1591150
1616229
1591184
1615524
1591184
1616243
1591185
1615538
1591199
1616243
1591233
1615573
1591233
1616257
1591234
1615587
1591248
1616257
1591282
1615622
1591282
1616271
1591283
1615636
1591297
1616271
1591331
1615671
1591331
1616285
1591332
1615685
1591346
1616285
1591380
1615720
1591380
1616299
1591381
1615734
1591395
1616299
1591429
1615769
1591429
1616313
1591430
1615783
1591444
1616313
1591478
1615818
1591478
1616327
1591479
1615832
1591493
1616327
Highlighted walls overlap. One of them may be ignored when Revit finds room boundaries. Use Cut Geometry to embed one wall within the other.
1591023
1615362
1593200
1615362
1615362
2653640
There are identical instances in the same place. This will result in double counting in schedules.
1543480
1546112

## Placed Views
View Names | View Scale | Type | Sheet | Creator | User Name
EAST ELEVATION | 96 | 2.0_Documents-Exterior | A2.01 | michael.adams@zgf.com
NORTH ELEVATION | 96 | 2.0_Documents-Exterior | A2.01 | michael.adams@zgf.com
WEST ELEVATION | 96 | 2.0_Documents-Exterior | A2.01 | michael.adams@zgf.com
SOUTH ELEVATION | 96 | 2.0_Documents-Exterior | A2.01 | michael.adams@zgf.com
w-East | 96 | 1.0_Working | A2.01 | michael.adams@zgf.com
w-South | 96 | 1.0_Working | A2.01 | michael.adams@zgf.com
w-West | 96 | 1.0_Working | A2.01 | michael.adams@zgf.com
w-North | 96 | 1.0_Working | A2.01 | michael.adams@zgf.com
Section 3 | 96 | 1.0_Working | A2.01 | michael.adams@zgf.com
Section 4 | 96 | 1.0_Working | A2.01 | disha.sharmin | DISHA
BUILDING - SHORT - MEZZ | 384 | 1.0_Working | KS.01 | katelynn.smith | Katelynn
BUILDING - SHORT - ATO | 384 | 1.0_Working | KS.01 | katelynn.smith | Katelynn
BUILDING - SHORT -MARKET | 96 | 1.0_Working | KS.01 | katelynn.smith | Katelynn
BUILDING - MEP Coordination Section | 96 | 1.0_Working | A2.01 | katelynn.smith | Katelynn
SECTION, BUILDING - NORTH-SOUTH | 96 | 2.0_Documents-Building | A2.01 | michael.adams@zgf.com

## Unplaced Views
View Names | View Scale | Type | Creator | User Name
w-Site-ME | 240 | 1.0_Working | michael.adams@zgf.com
w-01-ME | 96 | 1.0_Working | michael.adams@zgf.com
w-01-Wall Types | 8 | 1.0_Working | michael.adams@zgf.com
w-01-ME | 96 | 1.0_Working | michael.adams@zgf.com
c-01-Slab Edge | 96 | 1.0_Working | michael.adams@zgf.com
c-01-Lighting | 96 | 1.0_Working | michael.adams@zgf.com
Section 1 | 48 | 1.0_Working | michael.adams@zgf.com
Section 2 | 48 | 1.0_Working | michael.adams@zgf.com
CS_BONEYARD | 48 | 1.0_Working | michael.adams@zgf.com
ENLARGED PLAN AT ALIGNMENT CUBES | 192 | 1.0_Working | michael.adams@zgf.com | MQA
SECTION AT ALIGNMENT CUBES | 192 | 1.0_Working | michael.adams@zgf.com | MQA
exploded axo of roof, drafting view | 24 | 1.0_Working | michael.adams@zgf.com | hui
exploded axo test2 | 48 | 1.0_Working | michael.adams@zgf.com
B.O. Girder | 96 | 1.0_Working | michael.adams@zgf.com
exploded axo of roof, drafting view Copy 1 | 24 | 1.0_Working | michael.adams@zgf.com | hui
w-SOUTH PENTHOUSE - WALL SECTION @ T.B_cs | 48 | 1.0_Working | christian.schoewe@zgf.com | christian.schoewe
w-SOUTH PENTHOUSE - WALL SECTION @ Mech Room_cs | 48 | 1.0_Working | christian.schoewe@zgf.com | DISHA
w-SOUTH PENTHOUSE - WALL SECTION @ East Shafts-Seam_cs | 48 | 1.0_Working | christian.schoewe@zgf.com | christian.schoewe
w-SOUTH PENTHOUSE - WALL SECTION - Longitudinal_cs | 48 | 1.0_Working | christian.schoewe@zgf.com | christian.schoewe
w-SOUTH PENTHOUSE - WALL SECTION - Longitudinal_cs1 | 48 | 1.0_Working | christian.schoewe@zgf.com | christian.schoewe
Enplaning - Grid Control | 96 | 1.0_Working | tony.martinez | tony
SOUTH PENTHOUSE - Cross Section-Seam_Presentation | 96 | 1.0_Working | katelynn.smith | Katelynn
SOUTH PENTHOUSE - Longitudinal_Presentation | 96 | 1.0_Working | katelynn.smith | Katelynn
SOUTH PENTHOUSE - Floor Plan | 192 | 1.0_Working | katelynn.smith | Katelynn
SOUTH PENTHOUSE - Cross Section_Presentation | 96 | 1.0_Working | katelynn.smith | Katelynn
w-PLAN, ROOF_cs | 96 | 1.0_Working | christian.schoewe@zgf.com | christian.schoewe
SOUTH PENTHOUSE - Roof Plan | 192 | 1.0_Working | katelynn.smith | Katelynn
Coordination Plan - MEP Overall | 384 | 1.0_Working | katelynn.smith | Katelynn
BUILDING - Mech PH- Coordination Section | 96 | 1.0_Working | katelynn.smith | Katelynn
Coordination Plan - Roof | 192 | 1.0_Working | katelynn.smith | Katelynn
Underlay Penthouse | 384 | 1.0_Working | katelynn.smith | Katelynn
Enplaning half tone | 384 | 1.0_Working | katelynn.smith | Katelynn
Underlay Roof | 384 | 1.0_Working | katelynn.smith | Katelynn
Enplaning | 384 | 1.0_Working | katelynn.smith | Katelynn
Mezzanine | 384 | 1.0_Working | katelynn.smith | Katelynn
SEAM SKYLTS - EW Sect - DD optB - no XBeam | 96 | 1.0_Working | kelono | Kono
B.O. Girder(1) | 96 | 1.0_Working | kelono
SEAM SKYLTS - NS Sect - DD opt B - Mid Beam | 96 | 1.0_Working | kelono | Kono
SEAM SKYLTS - NS Sect - DD opt B -North Beam | 96 | 1.0_Working | kelono | Kono
SEAM SKYLTS - NS Sect - DD opt B -South Beam | 96 | 1.0_Working | kelono | Kono
SEAM SKYLTS - EW Sect - DD optB - one mid XBeam | 96 | 1.0_Working | kelono | Kono
SEAM SKYLTS - EW Sect - DD optB - four mid XBeam | 96 | 1.0_Working | kelono | Kono
SEAM SKYLTS - NS Sect - DD opt B - Mid Beam - low | 96 | 1.0_Working | kelono | Kono
SEAM SKYLTS - NS Sect - DD opt B - North Beam - low | 96 | 1.0_Working | kelono | Kono
SEAM SKYLTS - NS Sect - DD opt B - South Beam - low | 96 | 1.0_Working | kelono | Kono
EYEBROW SKYLTS - NS Sect - NORTH | 96 | 1.0_Working | kelono | Kono
EYEBROW SKYLTS - NS Sect - SOUTH | 96 | 1.0_Working | kelono | Kono
Coordination Plan - MEP Drains | 384 | 1.0_Working | katelynn.smith | Katelynn
COLUMN OPT.1 - Duct Coordination - Skylight | 48 | 1.0_Working | katelynn.smith | Katelynn
COLUMN OPT.1 - Duct Coordination - No skylight | 48 | 1.0_Working | katelynn.smith | Katelynn
COLUMN OPT.2 - Duct Coordination - No Skylight | 48 | 1.0_Working | katelynn.smith | Katelynn
COLUMN OPT.2 - Duct Coordination - Skylight | 48 | 1.0_Working | katelynn.smith | Katelynn
NORTH PENTHOUSE - Floor Plan | 192 | 1.0_Working | katelynn.smith | Katelynn
SMALL PENTHOUSE - Longitudinal_Presentation _minimized penthouse | 96 | 1.0_Working | disha.sharmin | Katelynn
SMALL PENTHOUSE - Cross Section_minimized penthouse | 96 | 1.0_Working | disha.sharmin | Katelynn
SMALL PENTHOUSE - Entire Bldg | 384 | 1.0_Working | katelynn.smith | Katelynn
BUILDING - Oregon Market/ Security | 96 | 1.0_Working | katelynn.smith | Katelynn
BUILDING - Ticketing | 384 | 1.0_Working | katelynn.smith | Katelynn
COLUMN DETAIL - No HVAC | 48 | 1.0_Working | katelynn.smith | Katelynn
zgf - Materials | 4 | Legend | michael.adams@zgf.com
zgf - Line Styles | 1 | Legend | michael.adams@zgf.com
zgf - Symbols | 1 | Legend | michael.adams@zgf.com
zgf - Text Styles | 1 | Legend | michael.adams@zgf.com
zgf - Dimension Standards | 48 | Legend | michael.adams@zgf.com
zgf - Fire & Life Safety | 1 | Legend | michael.adams@zgf.com
zgf - Abbreviations | 48 | Legend | michael.adams@zgf.com
zgf - Location Map | 1 | Legend | michael.adams@zgf.com
zgf - General Notes | 48 | Legend | michael.adams@zgf.com
w - Startup info | 1 | Legend | michael.adams@zgf.com
zgf - Sheet Number Key | 1 | Legend | michael.adams@zgf.com
ZGF - TYPICAL DOOR FRAME CLEARANCE | 48 | Legend | michael.adams@zgf.com
zgf - Power & Data Legend | 1 | Legend | michael.adams@zgf.com
GENERAL NOTES - PLANS | 1 | Legend | michael.adams@zgf.com
GENERAL NOTES - ELEV, INT | 1 | Legend | michael.adams@zgf.com
GENERAL NOTES - RCP | 1 | Legend | michael.adams@zgf.com
zgf - Reflected Ceiling Legend | 96 | Legend | michael.adams@zgf.com
Partition Types | 48 | Legend | michael.adams@zgf.com
PLAN, LIFE SAFETY - LEVEL 01 | 96 | 2.0_Documents-Life Safety | michael.adams@zgf.com
PLAN, ROOF | 96 | 2.0_Documents | michael.adams@zgf.com
PLAN, FIRST FLOOR | 96 | 2.0_Documents | michael.adams@zgf.com
PERSPECTIVE, EXTERIOR - NORTHWEST CORNER | 96 | 2.0_Documents | michael.adams@zgf.com
REFLECTED CEILING PLAN, FIRST FLOOR | 96 | 2.0_Documents | michael.adams@zgf.com
Mech PH- Coordination RCP | 96 | 2.0_Documents | katelynn.smith | Katelynn
RCP Underlay Test | 96 | 2.0_Documents | katelynn.smith | Katelynn
{3D} | 96 | 4.0_Presentation | michael.adams@zgf.com
Skylight | 96 | 4.0_Presentation | michael.adams@zgf.com
{3D - disha.sharmin} | 96 | 4.0_Presentation | michael.adams@zgf.com
{3D - erin.hastings} | 96 | 4.0_Presentation | michael.adams@zgf.com
{3D - christian.schoewe@zgf.com} | 96 | 4.0_Presentation | michael.adams@zgf.com | christian.schoewe
{3D - qing.ju} | 96 | 4.0_Presentation | michael.adams@zgf.com
{3D - michael.adams@zgf.com} | 96 | 4.0_Presentation | michael.adams@zgf.com
{3D - hui.bao} | 96 | 4.0_Presentation | michael.adams@zgf.com
exploded axo of roof | 32 | 4.0_Presentation | michael.adams@zgf.com | hui
3D View 2 | 96 | 4.0_Presentation | michael.adams@zgf.com
exploded axo of roof Copy 2 | 4 | 4.0_Presentation | michael.adams@zgf.com | hui
exploded axo of roof Copy 1 | 32 | 4.0_Presentation | michael.adams@zgf.com | hui
{3D - kevin.murney} | 96 | 4.0_Presentation | kevin.murney
w-skylight study | 96 | 4.0_Presentation | christian.schoewe@zgf.com | christian.schoewe
w-south penthouse study | 96 | 4.0_Presentation | christian.schoewe@zgf.com | christian.schoewe
South penthouse study_Presentation | 96 | 4.0_Presentation | katelynn.smith | Katelynn
w-beam framing study_cs | 192 | 4.0_Presentation | christian.schoewe@zgf.com | christian.schoewe
w-column-girder_typ_cs | 96 | 4.0_Presentation | katelynn.smith | Katelynn
Oregon Market Grease options INT | 96 | 4.0_Presentation | katelynn.smith | Katelynn
Oregon Market Grease options EXT | 96 | 4.0_Presentation | katelynn.smith | Katelynn
Duct Coordination SD | 96 | 4.0_Presentation | katelynn.smith | Katelynn
Duct Coordination DD | 96 | 4.0_Presentation | katelynn.smith | Katelynn
{3D - katelynn.smith} | 96 | 4.0_Presentation | katelynn.smith
Mech PH- Coordination Plan1 | 48 | 2.1_Documents-Enlarged | michael.adams@zgf.com
Mechanical Penthouse Upper | 48 | 2.1_Documents-Enlarged | michael.adams@zgf.com
PDX-102191-AL-00-ARF-ZGF-DM | 96 | 3.0_Export | michael.adams@zgf.com | NAVIS
PDX-102191-AL-01-ARF-ZGF-DM | 96 | 3.0_Export | michael.adams@zgf.com | NAVIS
PDX-102191-AL-08-ARF-ZGF-DM | 96 | 3.0_Export | michael.adams@zgf.com | NAVIS

## View Template
Unused Template | Used Template
SectionView(Name = Section - A3 Wall ) | FloorPlanView(Name = Documents_Plan, Floor-1/8" )
SectionView(Name = Documents_Elevation, Interior-1/4" ) | CeilingPlanView(Name = Documents_Plan, Reflected Ceiling-1/8" )
FloorPlanView(Name = Documents_Plan, Detail-1/8" ) | SectionView(Name = Section - A3 Building )
FloorPlanView(Name = Documents_Plan, Roof-1/8" ) | FloorPlanView(Name = Documents_Area Plan, Life Safety-1/8" )
SectionView(Name = Section - A4,A5 & A8 Detail ) | SectionView(Name = Documents_Elevation, Exterior-1/8" )
FloorPlanView(Name = Documents_Plan, Enlarged-1/4" ) | SectionView(Name = KS_ Section_Mech Coordination )
SectionView(Name = Documents_Elevation, Exterior Enlarged-1/2" )
FloorPlanView(Name = Documents_Plan, Demo-1/8" )
FloorPlanView(Name = Documents_Plan, Existing-1/8" )
ScheduleView(Name = Schedules - (Standard) )
ScheduleView(Name = Schedules - Drawing List )
FloorPlanView(Name = Documents_Plan, Site-20" )
FloorPlanView(Name = QM - Fire Rating )
FloorPlanView(Name = QM - Interior vs Exterior )
FloorPlanView(Name = QM - Generic Content )
FloorPlanView(Name = QM - Coordination )
FloorPlanView(Name = KS- Diagram Plan )

## Filters
Unused Filter | Used Filter
Partition Designation = BAG DROP (walls) | Function = Interior (door, floor, ramps, stairs, wall)
Views - Not Placed on Sheet (callout, elev, sections) | Family & Type CONTAINS "Work" (callout, elev, sections)
Views - not Document | Partition Designation = 1/2 (walls)
FLS Exit Path | Partition Designation = 1 (walls)
FLS Common Exit Path | Partition Designation = 2 (walls)
Grids - Existing | Partition Designation = 3 (walls)
Roof - planks - north south module | Partition Designation = 4 (walls)
Roof - girders | Annotation CTRL = A3 Enlarged Elevation
Roof - beams | Family & Type Contains "Generic"
Roof - surface top | Type Contains "Generic"
Toilets - Grab Bars | Function = Exterior (door, floor, ramps, stairs, wall)
Baggage - Carts
Toilets - Toilet Partition
Wall - brace frame
PAE model test
Comments - site accessories
Pavement Marking
Hide Beam Profile Elevations
KPFF Split Column
Views - Time Out (Hold)
Sections - z

## Legends
Legend Names | Legend Scale
zgf - Materials | 4
zgf - Line Styles | 1
zgf - Symbols | 1
zgf - Text Styles | 1
zgf - Dimension Standards | 48
zgf - Fire & Life Safety | 1
zgf - Abbreviations | 48
zgf - Location Map | 1
zgf - General Notes | 48
w - Startup info | 1
zgf - Sheet Number Key | 1
ZGF - TYPICAL DOOR FRAME CLEARANCE | 48
zgf - Power & Data Legend | 1
GENERAL NOTES - PLANS | 1
GENERAL NOTES - ELEV, INT | 1
GENERAL NOTES - RCP | 1
zgf - Reflected Ceiling Legend | 96
Partition Types | 48

## Schedules
Schedule Names
DOOR SCHEDULE
ROOM FINISH SCHEDULE
w- Sheet List
SHEET LIST
w- Walls Placed in Project
w - Keynote Legend
w- Disciplines
Schedules - (Standard)
Schedules - Drawing List
ROOM FINISH SCHEDULE WITH CASEWORK
<Revision Schedule> 2
<Revision Schedule> 3
<Revision Schedule> 4
<Revision Schedule> 5
<Revision Schedule> 6
<Revision Schedule> 7
<Revision Schedule> 8
<Revision Schedule> 9
<Revision Schedule>
<Revision Schedule> 11
<Revision Schedule> 12
<Revision Schedule> 13
<Revision Schedule> 15
<Revision Schedule> 14
<Revision Schedule> 17
<Revision Schedule> 18
OCCUPANT COUNT
<Revision Schedule> 10

## Sheets
Sheet Names | Sheet Number | Scale | Discipline Name | Appears In Sheet List | Sheet Issue Date
PLAN, SITE | A1.01 |  | ARCHITECTURAL | 1 | 00/00/00
PLAN, FLOOR - LEVEL 1 | A2.01 | As indicated | ARCHITECTURAL | 1 | 00/00/00
ELEVATIONS, EXTERIOR | A3.01 |  | ARCHITECTURAL | 1 | 2011-06-10
DETAILS, EXTERIOR | A4.01 |  | ARCHITECTURAL | 1 | 2011-06-10
SECTIONS, STAIRS & ELEVATORS | A5.01 |  | ARCHITECTURAL | 1 | 2011-06-10
PLANS, ENLARGED | A6.01 |  | ARCHITECTURAL | 1 | 2011-06-10
ELEVATIONS, INTERIOR | A7.01 |  | ARCHITECTURAL | 1 | 2011-06-10
PLAN, REFLECTED CEILING - FIRST FLOOR | A9.01 | As indicated | ARCHITECTURAL | 1 | 2011-06-10
SYMBOLS AND ABBREVIATIONS | A0.01 | As indicated | ARCHITECTURAL | 1 | 2011-10-04
CODE SUMMARY | A0.11 |  | ARCHITECTURAL | 1 | 2011-10-21
Start View | z | 12" = 1'-0" | ZGF | 0 | 2017-03-21
LIFE SAFETY PLAN, FIRST FLOOR | A0.21 | As indicated | ARCHITECTURAL | 1 | 2013-10-07
PLAN, ROOF | A2.xx |  | ARCHITECTURAL | 1 | 2014-08-13
SECTIONS, BUILDING | A3.x1 |  | ARCHITECTURAL | 1 | 2014-08-13
SECTIONS, WALL AND ENLARGED ELEVATIONS | A3.x2 |  | ARCHITECTURAL | 1 | 2014-08-13
ROOM FINISH SCHEDULE | A8.xy |  | ARCHITECTURAL | 1 | 2014-08-21
DOOR SCHEDULE AND TYPE ELEVATIONS | A8.xx (if not in spec) |  | ARCHITECTURAL | 1 | 2014-01-14
exploded axo of roof | A8.03 | 1/2" = 1'-0" |  | 1 | 2018-12-26
Unnamed | A8.04 |  |  | 1 | 2018-12-26
exploded axo of roof option2 | A8.05 | 1/2" = 1'-0" |  | 1 | 2018-12-28
Penthouse- Enplaning Underlay | KS.01 | 1/32" = 1'-0" |  | 1 | 2019-03-14
SKYLIGHT SECTION STUDY - DD-b-HIGH STRUCTURE | Kono.01 | 1/8" = 1'-0" |  | 0 | 2019-03-18
SKYLIGHT SECTION STUDY - DD-b-LOW STRUCTURE | Kono.02 | 1/8" = 1'-0" |  | 1 | 2019-03-19
Unnamed | KS.03 | 1/4" = 1'-0" |  | 1 | 2019-03-22

## Revision
Revision Names | Revision Number | Revision Date | Revision Description | Issued to | Issued by

## Materials
Material Names | Description
Default | placeholder
Default - Floor | placeholder
Default - Roof | placeholder
Glass | GLASS
Site - Earth | EARTH
Site - Grass | GRASS
Site - Pavement, Asphalt | ASPHALT PAVEMENT
Concrete - Cast-in-Place Concrete | CAST-IN-PLACE CONCRETE
Metal - Galvanized - Stud | STEEL STUD
Metal - Galvanized - Furring | STEEL FURRING CHANNEL
Thermal & Moisture Protection - Air Space | AIR SPACE
Finish - Gypsum - Board | GYPSUM BOARD
Graphics - Phase, Demo | DEMOLISHED ELEMENT
Graphics - Phase, Exist | EXISTING CONSTRUCTION
Graphics - Phase, Temporary | TEMPORARY CONSTRUCTION
Graphics - Phase, New | NEW CONSTRUCTION
Mass - Floor | Floor Mass
Default - Door | Door - placeholder
Default - Ceiling | placeholder
Finish - Gypsum - Shaft Wall Liner | GYPSUM BOARD SHAFT WALL LINER
Walls - Shim space | AIR INFILTRATION BARRIER
Finish - Gypsum - Sure-Board | SURE-BOARD
Default - Wall | placeholder
Poche
Metal - Copper | COPPER
Finish - Plastic
Metal - Stainless Steel | STAINLESS STEEL
Default - Casework | placeholder
Default - Curtainwall Mullion | placeholder
Default - Electrical Equipment | placeholder
Default - Entourage | placeholder
Default - Furniture | placeholder
Default - Light Fixtures | placeholder
Default - Plumbing | placeholder
Default - Railing | placeholder
Default - Equipment | placeholder
Default - Stairs | placeholder
Default - Structural | placeholder
Default - Window | placeholder
Default - Site | placeholder
Default - Columns | placeholder
Default - Curtain Panels | placeholder
Default - Curtain Systems | placeholder
Finish - Cemintitious Backing Board | GYPSUM BOARD SHAFT WALL LINER
Metal - Galvanized - Stud - Shaft | STEEL STUD
Masonry - CMU - Partition | CONCRETE MASONRY UNIT
Wood - Sheathing - Plywood - Fire Rated | PLYWOOD
Mass | Massing object
Render Material 255-255-255
Black
ZGF_Context
ZGF_Core and Shell
ZGF_FF&E
ZGF_Interiors
KPFF_TCORE
PAE_ TCORE Electrical
PAE_TCORE Plumbing
PAE_TCORE Mech
PAE_TCORE Fire
PAE_TCORE Tech
BNP - BAG HANDLING
ZGF_Roof
Blue
Default Ground Plane
Render Material 0-255-0
Render Material 255-0-0
Render Material 255-255-0
Render Material 102-102-102
Render Material 255-127-0
Render Material 0-255-191
Render Material 0-0-165
Render Material 0-127-95
Render Material 0-165-124
TCORE - MP3 Metal Wall Panel
Phase - Demo
Phase - Exist
Phase - Temporary
Render Material 38-0-0
Bronze - Mueller - Cast
Insulation - Fiberglass
Malleable Iron
Access Clearance | Interior finish
Wood - Glulam | DIMENSIONAL LUMBER
Default Wall
Render Material 0-0-0
Render Material 165-82-82
Default Roof
Default Light Source
Phase-Demo
Phase-Exist
Phase-Temp
Analytical Floor Surface
Analytical Slab Surface
Analytical Wall Surface
Steel ASTM A992 | Structural steel 50ksi
Dynamo
DynamoError

## Project Parameters
Parameter Names | Parameter Type | Parameter Group | Parameter Catagory
Framing Size Designation | Text | PG_IDENTITY_DATA | Walls
Sound Transmission Class (STC) | Text | INVALID | Walls
Wall Type | Text | INVALID | Walls
Stud Size | Length | PG_IDENTITY_DATA | Walls
Sheet Order | Number | PG_IDENTITY_DATA | Sheets
Discipline Name | Text | PG_IDENTITY_DATA | Sheets
Discipline Order | Number | PG_IDENTITY_DATA | Sheets
Clear Width | Length | PG_GEOMETRY | Doors
Clear Width Required | Length | PG_GEOMETRY | Doors
Document Release | Text | PG_IDENTITY_DATA | Sheets
RA Number | Text | PG_IDENTITY_DATA | Sheets
Revision Sht Description | Text | PG_IDENTITY_DATA | Sheets
User Description | Text | PG_TEXT | Detail Items
Relite | YesNo | PG_IDENTITY_DATA | Windows
Partition Designation | Text | PG_IDENTITY_DATA | Walls
User Name | Text | PG_IDENTITY_DATA | Views
Marketing Color | Text | PG_GENERAL | Spaces - Rooms
Casework Base Finish | Text | PG_IDENTITY_DATA | Rooms
Casework Upper Finish | Text | PG_IDENTITY_DATA | Rooms
Hardware | Text | PG_IDENTITY_DATA | Doors
Occupancy Type Definitions | Text | PG_DATA | Project Information
Space Type | Text | PG_IDENTITY_DATA | Rooms
Wall Finish East | Text | PG_IDENTITY_DATA | Rooms
Wall Finish North | Text | PG_IDENTITY_DATA | Rooms
Wall Finish South | Text | PG_IDENTITY_DATA | Rooms
Wall Finish West | Text | PG_IDENTITY_DATA | Rooms
Casework Soffit | Text | PG_IDENTITY_DATA | Rooms
Casework is Upper | YesNo | PG_IDENTITY_DATA | Rooms
Sheet Volume | Text | PG_IDENTITY_DATA | Sheets
BOMA Space Class | Text | PG_DATA | Areas
Code Exit Load | Integer | PG_DATA | Stairs - Doors
Occupant Load Factor | Number | PG_DATA | Areas - Rooms
Occupant Load Factor Text | Text | PG_DATA | Areas - Rooms
Occupant Load Factor Metric Text | Text | PG_DATA | Areas - Rooms
Occupancy Fixed Seating | YesNo | PG_DATA | Areas - Rooms
Occupant Load | Integer | PG_DATA | Areas - Rooms
Occupant Load Text | Text | PG_DATA | Areas - Rooms
Occupancy Group | Text | PG_DATA | Areas - Rooms
Occupancy Type Key | Text | PG_DATA | Areas - Rooms
Occupancy Separation | Text | PG_DATA | Areas - Rooms
Detail Category | Text | PG_IDENTITY_DATA | Views
SR View Calculation Settings | Text | INVALID | Views
SR Document GUID | Text | INVALID | Project Information
Rating | Integer | PG_IDENTITY_DATA | Doors
Material | Text | PG_MATERIALS | Doors
Frame Finish | Text | PG_MATERIALS | Doors
Revision | Text | PG_IDENTITY_DATA | Doors
00_Text_LegendDescription | Text | PG_OVERALL_LEGEND | Data Devices - Communication Devices - Security Devices - Telephone Devices - Electrical Equipment
26_Text_ConduitQty | Text | PG_AELECTRICAL | Data Devices - Communication Devices - Security Devices - Telephone Devices
00_Text_EquipmentNumber | Text | PG_IDENTITY_DATA | Data Devices - Communication Devices - Security Devices - Nurse Call Devices - Telephone Devices - Electrical Fixtures - Electrical Equipment
View Time Out (Hold) | YesNo | PG_VISIBILITY | Views

## Shared Parameters
Shared Parameter Location | Parameter Names
Z:\ZGFResources\Software_Content_Libraries\Revit\Shared Parameters\ZGF Shared Parameters.txt | Framing Size Designation
Partition Height Designation
Sound Transmission Class (STC)
Wall Type
Stud Size
Number of Lockers
Sheet Order
Discipline Name
Discipline Order
Clear Width
Clear Width Required
Document Release
RA Number
Revision Sht Description
User Description
Relite
Partition Designation
Exit Component
Fire Rating
Marketing Color
Casework Base Finish
Casework Counter Finish
Casework Upper Finish
Room
Egress Path Length
Egress Path Distance
Model Type
Hardware
Floor Finish - Presentation
Occupancy Type Definitions
Space Type
Wall Finish East
Wall Finish North
Wall Finish South
Wall Finish West
Casework Soffit
Casework is Upper
Sheet Volume
BOMA Space Class
Code Clear Width Reduction
Code Exit Load Factor
Code Exit Capacity
Code Exit Load
Door Clear Width
Egress Path Diagonal Low Rise
Egress Path Diagonal High Rise
Occupant Load Factor
Occupant Load Factor Text
Occupant Load Factor Metric Text
Occupancy Fixed Seating
Occupant Load
Occupant Load Text
Occupancy Group
Occupancy Type Key
Occupancy Separation
AAOS RO Spacing
Frame Offset
AAOS Frame Depth
AAOS Frame Jamb Width
AAOS Frame Head Width
AAOS No Panels
AAOS Panel 1 Width
AAOS Usage
AAOS Door Series
AAOS Gauge or Construction
AAOS Door Steel Type or Species
AAOS Door Manufacturer Type
AAOS Door Handing
AAOS Door Cost
AAOS HW Preps
AAOS Door Add Ons
AAOS Frame Add Ons
Leaf 1 Width
AAOS Panel 2 Width
SR View Calculation Settings
SR Document GUID
Rating
Material
Frame Finish
Panel Type
Door Render Material
Frame Render Material
Glass Render Material
AAOS Arch Door Panel Type
AAOS Frame Material
AAOS Glass Material
RO Spacing
Frame Head Width
No Panels
Frame Jamb Width
Panel 1 Width
Frame Depth
No Panels
Frame Jamb Width
Panel 1 Width
Panel 2 Width
RO Spacing
Frame Head Width
Frame Depth
Product Page URL
Material
Series
Model Number
Version
Material Standard
26_Text_PowerType04
26_Text_PowerType05
26_Text_StarterBy
26_Text_StarterBy_01
26_Text_StarterBy_02
26_Text_StarterBy_03
26_Text_StarterBy_04
26_Text_StarterBy_05
26_Text_WireGauge_Ground
26_Text_WireGauge_Ground01
26_Text_WireGauge_Ground02
26_Text_WireGauge_Ground03
26_Text_WireGauge_Ground04
26_Text_WireGauge_Ground05
26_Text_WireGauge_Hot
26_Text_WireGauge_Hot01
26_Text_WireGauge_Hot02
26_Text_WireGauge_Hot03
26_Text_WireGauge_Hot04
26_Text_WireGauge_Hot05
26_Text_WireGauge_Neutral
26_Text_WireGauge_Neutral01
26_Text_WireGauge_Neutral02
26_Text_WireGauge_Neutral03
26_Text_WireGauge_Neutral04
26_Text_WireGauge_Neutral05
26_Wattage_Watts01_Elec
26_Wattage_Watts02
26_Wattage_Watts02_Elec
26_YesNo_ElectricalPropertiesChanged
26_YesNo_MotorLoadClassification_01
26_YesNo_MotorLoadClassification_02
26_YesNo_MotorLoadClassification_03
26_YesNo_MotorLoadClassification_04
26_YesNo_MotorLoadClassification_05
26_YesNo_PropertiesChangedFLA
26_YesNo_PropertiesChangedHP
26_YesNo_PropertiesChangedMCA
26_YesNo_PropertiesChangedMOCP
26_YesNo_PropertiesChangedPHASE
26_YesNo_PropertiesChangedVOLTS
26_YesNo_PropertiesChangedWATTS
26_YesNo_SinglePoint_Connection
26_YesNo_VFD
26_YesNo_VFD01
26_YesNo_VFD02
26_YesNo_VFD03
26_YesNo_VFD04
26_YesNo_VFD05
23_Velocity_SupplyAirDischarge
23_Velocity_ReturnAir
ScheduleType ¦RF¦
00_Text_LegendDescription
00_Text_KeyLvl01
00_Text_KeyLvl02
00_Text_KeyLvl03
00_Text_ScheduleNotes
00_Text_Mounting_Typical
26_ConduitSize
26_Text_ConduitQty
26_Length_BackBoxWidth
26_Length_BackBoxHeight
26_Length_BackBoxDepth
26_Integer_ElectricalGangs
00_Text_EquipmentNumber
26_YesNo_ElectricalConnectionRequired
00_Length_MountingHeight
00_Length_EquipmentHeight
00_Length_EquipmentLength
00_Length_EquipmentWidth
26_ApparentPower
26_ElectricalPotential_Voltage01
26_LoadClassification
26_Number_PowerFactor
26_NumberOfPoles_Hots01
00_Text_EquipmentType
26_Wattage_Watts01
00_Text_EquipmentNumberNested
26_Wattage_Watts
26_Integer_ElectricalPhase_01
26_Integer_Neutrals01
26_Integer_Grounds01
00_Text_DiciplinesToShowIn
00_Text_Blank
00_Text_EquipmentLocation
00_Text_EquipmentParent
00_Text_EquipmentService
00_Text_Manufacturer
00_Text_ManufacturerModel
00_Text_ManufacturerNumber
00_Text_PAE_SpecificationNumber
00_Text_ScheduleNotes_Elec
00_YesNo_NestedComponent
05_Weight_ApproximateWeight
23_AirFlow_HeatRecoveryExhaustCFM
23_AirFlow_HeatRecoveryOSA_CFM
23_AirFlow_MixingBox_OSA_CFM_CodeMin
23_AirFlow_MixingBox_OSA_CFM_LowMin
23_AirFlow_MixingBox_OSA_CFM_MAX
23_AirFlow_MixingBox_OSA_CFM_MIN
23_AirFlow_ReturnFan_CFM
23_AirFlow_SupplyFan_CFM
23_CoolingLoad_CoolingCoilSensibleBTUH
23_CoolingLoad_CoolingCoilTotalBTUH
23_Factor_CoolingCoil_Glycol
23_Factor_HeatingCoil_Glycol
23_Factor_HeatRecovery_Summer_Effectiveness
23_Factor_HeatRecovery_Winter_Effectiveness
23_Factor_NaturalGasEfficiency
23_HeatingLoad_HeatingCoilSensibleBTUH
23_HeatingLoad_HeatingCoilTotalBTUH
23_HeatingLoad_NaturalGasInput
23_HeatingLoad_NaturalGasOutput
23_Integer_CoolingCoilFPI
23_Integer_CoolingCoilRows
23_Integer_HeatingCoilFPI
23_Integer_HeatingCoilRows
23_Integer_RefrigerantCoilFPI
23_Integer_RefrigerantCoilRows
23_Integer_VibrationIsolation_IsolatorType
23_Length_VibrationIsolation_MinStaticDeflection
23_Number_AirCooledCondenserFanQuantity
23_Number_ChillerTons
23_Number_COP
23_Number_IPLV
23_Number_MixingBox_Merv_FinalFilter
23_Number_MixingBox_Merv_PreFilter
23_Number_NPLV
23_Number_RefrigerantLBS
23_Number_ReturnFan_FanRPM
23_Number_ReturnFanQuantity
23_Number_SupplyFan_FanRPM
23_Number_SupplyFanQuantity
23_PipingFlow_ChillerCondenserGPM
23_PipingFlow_ChillerCondenserGPM_MIN
23_PipingFlow_ChillerEvaporatorGPM
23_PipingFlow_ChillerEvaporatorGPM_MIN
23_PipingFlow_CoolingCoil_GPM
23_PipingFlow_HeatingCoil_GPM
23_PipingPressure_ChillerCondenser_WPD_MAX
23_PipingPressure_ChillerEvaporator_WPD_MAX
23_PipingPressure_CoolingCoil_WPD_MAX
23_PipingPressure_HeatingCoil_WPD_MAX
23_PipingVelocity_CoolingCoilVelocity
23_PipingVelocity_HeatingCoilVelocity
23_Pressure_CoolingCoil_APD_MAX
23_Pressure_HeatingCoil_APD_MAX
23_Pressure_RefrigerantCoolingCoil_APD_MAX
23_Pressure_RefrigerantHeatingCoil_APD_MAX
23_Pressure_ReturnFanESP
23_Pressure_ReturnFanTSP
23_Pressure_SupplyFanESP
23_Pressure_SupplyFanTSP
23_RefrigerantCoolingLoad_RefrigerantCoolingCoilSensibleBTUH
23_RefrigerantCoolingLoad_RefrigerantCoolingCoilTotalBTUH
23_RefrigerantHeatingLoad_RefrigerantHeatingCoilSensibleBTUH
23_RefrigerantHeatingLoad_RefrigerantHeatingCoilTotalBTUH
23_Temperature_ChillerCondenserEWT
23_Temperature_ChillerCondenserLWT
23_Temperature_ChillerEvaporatorEWT
23_Temperature_ChillerEvaporatorLWT
23_Temperature_CoolingCoil_Delta
23_Temperature_CoolingCoil_EAT_DB
23_Temperature_CoolingCoil_EAT_WB
23_Temperature_CoolingCoil_EWT
23_Temperature_CoolingCoil_LAT_DB
23_Temperature_CoolingCoil_LAT_WB
23_Temperature_CoolingCoil_LWT
23_Temperature_ElecticHeating_EAT_DB
23_Temperature_ElecticHeating_LAT_DB
23_Temperature_HeatingCoil_Delta
23_Temperature_HeatingCoil_EAT_DB
23_Temperature_HeatingCoil_EWT
23_Temperature_HeatingCoil_LAT_DB
23_Temperature_HeatingCoil_LWT
23_Temperature_HeatRecovery_Summer_EXH_LAT_DB
23_Temperature_HeatRecovery_Summer_EXH_LAT_WB
23_Temperature_HeatRecovery_Summer_OSA_EAT_DB
23_Temperature_HeatRecovery_Summer_OSA_EAT_WB
23_Temperature_HeatRecovery_Summer_OSA_LAT_DB
23_Temperature_HeatRecovery_Summer_OSA_LAT_WB
23_Temperature_HeatRecovery_Winter_EXH_LAT_DB
23_Temperature_HeatRecovery_Winter_OSA_EAT_DB
23_Temperature_HeatRecovery_Winter_OSA_LAT_DB
23_Temperature_NaturalGas_EAT_DB
23_Temperature_NaturalGas_EAT_WB
23_Temperature_NaturalGas_LAT_DB
23_Temperature_NaturalGas_LAT_WB
23_Temperature_RefrigerantCoolingCoil_EAT_DB
23_Temperature_RefrigerantCoolingCoil_EAT_WB
23_Temperature_RefrigerantCoolingCoil_LAT_DB
23_Temperature_RefrigerantCoolingCoil_LAT_WB
23_Temperature_RefrigerantHeatingCoil_EAT_DB
23_Temperature_RefrigerantHeatingCoil_LAT_DB
23_Text_AirCooledCondenserFanFanType
23_Text_ChillerCondenserFoulingFactor
23_Text_ChillerEvaporatorFoulingFactor
23_Text_Control
23_Text_HeatRecoveryType
23_Text_kWperTon
23_Text_RefrigerantType
23_Text_ReturnFanFanType
23_Text_SupplyFanFanType
23_Text_VibrationIsolation_BaseType
23_Text_VibrationIsolation_EquipmentLocation
23_Velocity_CoolingCoilFaceVelocity_MAX
23_Velocity_HeatingCoilFaceVelocity_MAX
23_Velocity_RefrigerantCoolingCoilFaceVelocity_MAX
23_Velocity_RefrigerantHeatingCoilFaceVelocity_MAX
26_Current_FLA
26_Current_FLA01
26_Current_FLA01_Elec
26_Current_FLA02
26_Current_FLA02_Elec
26_Current_MCA
26_Current_MCA01
26_Current_MCA01_Elec
26_Current_MCA02
26_Current_MCA02_Elec
26_Current_MOCP
26_Current_MOCP01
26_Current_MOCP01_Elec
26_Current_MOCP02
26_Current_MOCP02_Elec
26_Current_NEC_HP
26_Current_NEC_HP01
26_Current_NEC_HP02
26_Current_NEC_HP03
26_Current_NEC_HP04
26_Current_SCCR
26_ElectricalPotential_Voltage
26_ElectricalPotential_Voltage01_Elec
26_ElectricalPotential_Voltage02
26_ElectricalPotential_Voltage02_Elec
26_ElectricalPotential_Voltage03
26_ElectricalPotential_Voltage03_Elec
26_ElectricalPotential_Voltage04
26_ElectricalPotential_Voltage04_Elec
26_ElectricalPotential_Voltage05
26_ElectricalPotential_Voltage05_Elec
26_Integer_ElectricalPhase
26_Integer_ElectricalPhase_01_Elec
26_Integer_ElectricalPhase_02
26_Integer_ElectricalPhase_02_Elec
26_Integer_ElectricalPhase_03
26_Integer_ElectricalPhase_03_Elec
26_Integer_ElectricalPhase_04
26_Integer_ElectricalPhase_04_Elec
26_Integer_ElectricalPhase_05
26_Integer_ElectricalPhase_05_Elec
26_Integer_Grounds
26_Integer_Grounds02
26_Integer_Grounds03
26_Integer_Grounds04
26_Integer_Grounds05
26_Integer_Neutrals
26_Integer_Neutrals02
26_Integer_Neutrals03
26_Integer_Neutrals04
26_Integer_Neutrals05
26_NumberOfPoles_Hots
26_NumberOfPoles_Hots02
26_NumberOfPoles_Hots03
26_NumberOfPoles_Hots04
26_NumberOfPoles_Hots05
26_Power_BrakeHorsepower01
26_Power_BrakeHorsepower02
26_Power_BreakHorespower03
26_Power_BreakHorsepower04
26_Power_Horsepower
26_Power_Horsepower01
26_Power_Horsepower01_Elec
26_Power_Horsepower02
26_Power_Horsepower02_Elec
26_Power_Horsepower03
26_Power_Horsepower03_Elec
26_Power_Horsepower04
26_Power_Horsepower04_Elec
26_Text_DisconnectProvidedBy
26_Text_DisconnectProvidedBy_01
26_Text_DisconnectProvidedBy_02
26_Text_DisconnectProvidedBy_03
26_Text_DisconnectProvidedBy_04
26_Text_DisconnectProvidedBy_05
26_Text_DisconnectSize_01
26_Text_DisconnectSize_02
26_Text_DisconnectSize_03
26_Text_DisconnectSize_04
26_Text_DisconnectSize_05
26_Text_ElectricHeatingCoilStages
26_Text_Panel
26_Text_PowerType01
26_Text_PowerType02
26_Text_PowerType03
W
A

## Global Parameters
Parameter Names | Parameter Value | Parameter Type | Parameter Group

## Project Phases
Existing
Final Construction
A-Enabling

## Phase Filters
Show Previous Phase
Show Previous + New
Show Previous + Demo
Show Demo + New
Show All
Show Complete
Show New Only
Show Demo Only

## Links
Link File | Link Name | Location Type | Link Path | Link Angle | Link Elevation | Link EastWest | Link NorthSouth | Link ID
PDX-102191-ARCH-Envelope.rvt | 9 | location <Not Shared> | BIM 360://P22711.next - PDXNEXT TCORE - Terminal Core Redevelopment/PDX-102191-ARCH-Envelope.rvt | -28.9737 | 28.3599 | 117065.6224 | 62978.1838 | 1237911
PDX-102191-ARCH-Context.rvt | 10 | location Internal | BIM 360://P22711.next - PDXNEXT TCORE - Terminal Core Redevelopment/PDX-102191-ARCH-Context.rvt | -28.9737 | 28.3599 | 117065.581 | 62978.1085 | 1358355
PDX-102191-ARCH-Context.rvt | PDX-101888-ARCH-E Extension.rvt | 16 |  | -28.9737 | 26.8599 | 117065.5822 | 62978.1108 | 1358358
PDX-102191-ARCH-Interiors.rvt | 11 | location <Not Shared> | BIM 360://P22711.next - PDXNEXT TCORE - Terminal Core Redevelopment/PDX-102191-ARCH-Interiors.rvt | -28.9737 | 28.3599 | 117065.6224 | 62978.1838 | 1520815
PDX-102191-ARCH-Envelope.rvt | 12 | location <Not Shared> | BIM 360://P22711.next - PDXNEXT TCORE - Terminal Core Redevelopment/PDX-102191-ARCH-Envelope.rvt | -28.9737 | 28.3599 | 117065.6224 | 62978.1838 | 1725559

## Imports
Import Name | Import Workset (view?) | Is Linked

## Lines and patterns
Fill Pattern Name | Line Pattern Name | Line Type Name | Line Type Count
<Solid fill> | Aligning Line | 4 Bold | 717
Parallel hatch - Diagonal up 1/8" | Dash dot | 1 X Light | 311
Parallel hatch - Diagonal down 1/8" | Dot | 2 Light | 1014
Parallel hatch - Horizontal 1/8" | Overhead | 3 Medium | 417
Parallel hatch - Vertical 1/8" | Hidden 1/16" | 5 X Bold | 441
Crosshatch - Ortho 1/8" | Demolished | 1 X Light - Hidden | 21
Crosshatch - Diagonal 3/32" | Match Line | 2 Light - Hidden | 27
Parallel lines - 3" | Grid Line | 3 Medium - Hidden | 28
Parallel lines - 4" | Contour 1/8" | 4 Bold - Hidden | 17
Parallel lines - 6" | Property Line | 5 X Bold - Hidden | 4
Masonry - Block 8x16 | Center | 1 X Light - Overhead | 5
Masonry - Block 8x8 | Rebar Cover Lines | 2 Light - Overhead | 26
Masonry - Brick | Boundary | 3 Medium - Overhead | 192
Wood - Shake 6" | Dampproofing | 4 Bold - Overhead | 7
Parallel hatch - Metal, Steel | Setback Line | 5 X Bold - Overhead | 3
Earth | Long dash | 2 Light - Screen | 5
Concrete | Dash 1/8 | 3 Medium - Screen | 2
Sand | Loose dash | 4 Bold - Screen | 1
Tile - 12" | Dash - Double | 5 X Bold - Screen | 1
Tile - 8" | Dash - Triple | 2 Light - Screen - Hidden | 5
Tile - 4.25" | Dash dot dot | 3 Medium - Screen - Hidden | 1
Masonry - HerringBone 2x6 | Fire - 1 HR | 4 Bold - Screen - Hidden | 1
Wood - Parquet 6" | Fire - 0.5 HR | 5 X Bold - Screen - Hidden | 1
Parallel hatch - Metal, Aluminum | Fire - 2 HR | 2 Light - Screen - Overhead | 1
Ceiling - 2'x2' | Fire - 3 HR | 3 Medium - Screen - Overhead | 1
Ceiling - 2'x4' | Fire - 4 HR | 4 Bold - Screen - Overhead | 1
Crosshatch - Diagonal 1/8" | Fire Smoke Barrier - 1 HR | 5 X Bold - Screen - Overhead | 1
Parallel hatch - Diagonal up 3/32" | Fire Smoke Partition | Fire - 1 HR | 2
Masonry - Brick Soldier Course | Contract Limit Line | Fire - 2 HR | 2
Tile - 4" | Egress Path | Fire - 3 HR | 2
Wood - Board | Dash 3/32 | Fire - 4 HR | 2
Wood - Board Wide | Hidden 1/8" | Fire - 0.5 HR | 2
Wood - 1 | Dash 1/16 | <Centerline> | 21
Wood - 2 | Dash | <Demolished> | 1
Wood - 3 | Double dash | <Hidden> | 1
Wood - Plywood_med | Triple dash | <Overhead> | 16
Crosshatch - Diagonal 5/64" | Hidden | <Beyond> | 1
Sand - Precast | Dash 1/8" | Fire Smoke Barrier - 1 HR | 2
Stone - Gravel | Aligning Line 1/8" | Fire Smoke Partition | 2
Wood - HardBoard | Center 1/4" | Contract Limit Line | 1
Sand - GWB | Dash Dot 3/16" | Egress Path | 5
Parallel hatch - Diagonal up 1/4" | Overhead 1/16" | Thin Lines | 108
Stone - Gravel (Half) | Dot 1/32"
Concrete (Half) | Phantom 9/16"
Parallel hatch - Diagonal up 1/16" | Callout Boundary
Sand - Precast (Half) | Hidden 1/2"
Parallel hatch - Diagonal up 1/32" | IMPORT-Dash 1_16
Wood - Plywood_fine | IMPORT-Dash 1_8_
Crosshatch - Ortho 3/32" | IMPORT-Overhead
Wood - 4 | IMPORT-Dash dot
Wood - 5 | IMPORT-Center
BATH ELEV.dwg-1 | IMPORT-Dash 1_8
Wood - Finish | IMPORT-Grid Line
Horizontal | * Dashed
Vertical | Grid Line 1/2"
Crosshatch | IMPORT-HIDDEN
Steel | IMPORT-DOTB
Vertical 1/16"
2" X 2" Tile
Parallel 1'
Plastic
Aluminum
Gypsum-Plaster
Insulation - Rigid
Masonry - Brick
Masonry - Concrete Block
Diffuser Fins
Diagonal up
Diagonal down
Diagonal crosshatch
Crosshatch-small
Diagonal crosshatch-small
Diagonal down-small
Diagonal up-small
Horizontal-small
Vertical-small
3" parallel
4" Parallel
6" Parallel
Block 8x16
Block 8x8
Brick
Shake 6"
12" Tile
8" Tile
4.25" Tile
HerringBone 2x6
Parquet 6"
Sand - Dense
Shingle
Ceiling 24x24
Ceiling 24x48
Brick
Brick Soldier Course
4" Tile
Wood Board
Wood Board Wide
Wood 1
Wood 2
Wood 3
Plywood
Neoprene
Precast
Fire Proofing
GRAVEL
HARDBOARD
Parallel hatch - 1/16"
Insulation - semi rigid
Theads
Insulation - Polyiso
Exterior Sheathing
Stone-Slab
d_ANSI34
Wood_1
Wood_2
Concrete (Quarter)
Vertical 5'
18" Parallel
24" Parallel
Parallel_3"

## Images
Image Name | Pixels

## Workset
Workset Name
ZGF - Coordination
ZGF - Levels and Grids
ZGF - Roofing
ZGF - Purlins
ZGF - Glulam
ZGF - Lattice
LINK - Envelope
LINK - Interiors
LINK - Context
ZGF - Superstructure

## Model Group
Model Group Name | Model Group Workset | Model Group ID
MC skylight_shed 01 | ZGF - Glulam | 26
SD Seam Gable Skylight 01 | ZGF - Roofing | 51
SD Seam Gable half 01 | ZGF - Roofing | 18
MC_Skylight 01 | ZGF - Roofing | 32
VFD | ZGF - Coordination | 2
column Y elev | ZGF - Coordination | 1

## Detail Group
Detail Group Name | Detail Group Workset | Detail Group Count | Unused Detail Groups
Array Group 1 | View "Sheet: A8.xx (if not in spec) - DOOR SCHEDULE AND TYPE ELEVATIONS" | 32 | Group 1
Array Group 2 | View "Sheet: A8.xx (if not in spec) - DOOR SCHEDULE AND TYPE ELEVATIONS" | 8 | Group 2
grease stack | View "Floor Plan: SOUTH PENTHOUSE - Roof Plan" | 2 | Group 1
ROOF WATER DRAIN SLOPE ARROWS | View "Floor Plan: SOUTH PENTHOUSE - Roof Plan" | 4 | Roof Section Detail @ Seam
Group 33 | View "Floor Plan: SOUTH PENTHOUSE - Roof Plan" | 2 | Column Skylight lines
ceiling dome west | View "Section: SEAM SKYLTS - EW Sect - DD optB - no XBeam" | 3
ceiling dome east | View "Section: SEAM SKYLTS - EW Sect - DD optB - no XBeam" | 3
Array Group 3 | View "Section: SEAM SKYLTS - NS Sect - DD opt B - Mid Beam" | 720
Array Group 4 | View "Section: SEAM SKYLTS - NS Sect - DD opt B - Mid Beam" | 780
column Y elev | View "Section: SEAM SKYLTS - NS Sect - DD opt B - Mid Beam" | 12
Skylight north beam | View "Section: SEAM SKYLTS - NS Sect - DD opt B -North Beam" | 4
skylight south beam | View "Section: SEAM SKYLTS - NS Sect - DD opt B -South Beam" | 4
skylight mid beam LOW | View "Section: SEAM SKYLTS - NS Sect - DD opt B - Mid Beam - low" | 4
SKYLIGHT MID BEAM | View "Section: SEAM SKYLTS - NS Sect - DD opt B - Mid Beam" | 4
skylight south bm low | View "Section: SEAM SKYLTS - NS Sect - DD opt B - South Beam - low" | 4
roof | View "Section: SEAM SKYLTS - NS Sect - DD opt B - South Beam - low" | 3
skylight north bm low | View "Section: SEAM SKYLTS - NS Sect - DD opt B - North Beam - low" | 4
ROOF-EW SECT-SKYLIGHT | View "Section: SEAM SKYLTS - EW Sect - DD optB - no XBeam" | 3
Skylight Lines | View "Floor Plan: Coordination Plan - MEP Drains" | 2
Group 3 | ZGF - Roofing | 2
Group 4 | ZGF - Roofing | 1
vault_penthouse | View "Section: w-SOUTH PENTHOUSE - WALL SECTION @ Mech Room_cs" | 1
Group 5 | ZGF - Roofing | 3

## Inplace Families
InPlace Family Name | InPlace Family Type
Mass 1 | Family Type: Mass 1, Family: Mass 1
Mass 2 | Family Type: Mass 2, Family: Mass 2
Mass 3 | Family Type: Mass 2, Family: Mass 3
Mass 4 | Family Type: Mass 2, Family: Mass 4
Mass 5 | Family Type: Mass 2, Family: Mass 5
Mass 6 | Family Type: Mass 2, Family: Mass 6
Mass 7 | Family Type: Mass 2, Family: Mass 7

## Families
Family Name | Family Type
Family: System Panel | Family Type: Wall, Family: System Panel
Family Type: Glazed, Family: System Panel
Family: Empty System Panel
Family: Rectangular Mullion
Family: Circular Mullion
Family: L Corner Mullion
Family: V Corner Mullion
Family: Trapezoid Corner Mullion
Family: Quad Corner Mullion
Family: sym - Spot Elevation - Crosshair | Family Type: Spot Elevation - Crosshair, Family: sym - Spot Elevation - Crosshair
Family: Baluster - Round | Family Type: 1", Family: Baluster - Round
Family: Baluster - Square | Family Type: 1", Family: Baluster - Square
Family: Ltg-Recessed-Can | Family Type: 6" dia, Family: Ltg-Recessed-Can
Family Type: Wall Washer - 6" dia, Family: Ltg-Recessed-Can
Family Type: Diffuser - 6" dia, Family: Ltg-Recessed-Can
Family: Railing - Circular | Family Type: 1 1/2", Family: Railing - Circular
Family Type: 1", Family: Railing - Circular
Family: Fascia - Flat | Family Type: 1x12, Family: Fascia - Flat
Family: Gutter - Bevel | Family Type: 5" x 5", Family: Gutter - Bevel
Family: Slab Edge - Thickened | Family Type: 24" x 12", Family: Slab Edge - Thickened
Family: Stair Nosing - Generic_Pan | Family Type: Stair Nosing - Generic_Pan, Family: Stair Nosing - Generic_Pan
Family: sym - North Arrow | Family Type: North Arrow, Family: sym - North Arrow
Family: sym - LS Standpipe Cabinet | Family Type: SC, Family: sym - LS Standpipe Cabinet
Family: sym - Datum | Family Type: Datum Symbol, Family: sym - Datum
Family: sys - Section Tail | Family Type: 3/32" x 3/8", Family: sys - Section Tail
Family: sym - Sheet Number | Family Type: sym - Sheet Number, Family: sym - Sheet Number
Family: sym - Callout - Drawing Title (unlinked) | Family Type: Drawing Title-unlinked, Family: sym - Callout - Drawing Title (unlinked)
Family: sys - Elevation Mark Pointer_Working | Family Type: Detail Number Auto, Family: sys - Elevation Mark Pointer_Working
Family: sys - Elevation - Working | Family Type: Detail Number Auto, Family: sys - Elevation - Working
Family: sym - Dimension to Reference | Family Type: .75", Family: sym - Dimension to Reference
Family: sym - Exit Sign | Family Type: Exit Sign, Family: sym - Exit Sign
Family: sym - Graphic Scale | Family Type: 1/2" = 1'-0", Family: sym - Graphic Scale
Family Type: 1" = 20'-0", Family: sym - Graphic Scale
Family: sym - LS Building Exit | Family Type: Building Exit, Family: sym - LS Building Exit
Family: sym - LS Fire Extinquisher | Family Type: FE, Family: sym - LS Fire Extinquisher
Family Type: FEC, Family: sym - LS Fire Extinquisher
Family: sym - Slab Depression | Family Type: Slab Depression Symbol, Family: sym - Slab Depression
Family: sys - Section - Building | Family Type: Section Head - Building, Family: sys - Section - Building
Family: sys - View Reference - Callout | Family Type: Callout, Family: sys - View Reference - Callout
Family: tag - Door | Family Type: Door Tag, Family: tag - Door
Family: tag - Equipment | Family Type: Equipment, Family: tag - Equipment
Family: tag - Glass Type | Family Type: Glass Type, Family: tag - Glass Type
Family: tag - LS Egress Path Travel Distance | Family Type: tag - LS Egress Path Travel Distance, Family: tag - LS Egress Path Travel Distance
Family: tag - Relite_CW | Family Type: Relite Tag_CW, Family: tag - Relite_CW
Family: tag - Revision | Family Type: Revision Number, Family: tag - Revision
Family: tag - Room | Family Type: Name - Number, Family: tag - Room
Family: tag - Wall | Family Type: Partition Tag, Family: tag - Wall
Family: Ltg-Pendant | Family Type: Ltg-Pendant, Family: Ltg-Pendant
Family: Ltg-Recessed-Can_square | Family Type: 3" x 3", Family: Ltg-Recessed-Can_square
Family: fp - Fire Sprinkler | Family Type: Sprinkler Head, Family: fp - Fire Sprinkler
Family: hvac - Diffuser - Ceiling | Family Type: Supply - 24"x24", Family: hvac - Diffuser - Ceiling
Family Type: Return - 24"x24", Family: hvac - Diffuser - Ceiling
Family: sys - Level Head - Circle | Family Type: Level Head - Circle, Family: sys - Level Head - Circle
Family: sys - Elevation Mark Flag | Family Type: Detail Number Auto, Family: sys - Elevation Mark Flag
Family: Ltg-Recessed | Family Type: Direct_24"x24", Family: Ltg-Recessed
Family: Drafting-Dimension-unlinked | Family Type: Enlarged Elevation REF_1/8", Family: Drafting-Dimension-unlinked
Family: tag - LS Door Capacity | Family Type: LS Door, Family: tag - LS Door Capacity
Family: sys - Callout Head | Family Type: Callout, Family: sys - Callout Head
Family: tag - Room - Fire Life Safety | Family Type: Life Safety Tag, Family: tag - Room - Fire Life Safety
Family: sys - Section - Working | Family Type: Working, Family: sys - Section - Working
Family: Masonry-Brick-Solid | Family Type: Plan - Standard/Jumbo/Economy, Family: Masonry-Brick-Solid
Family: sys Project Status | Family Type: sys Project Status, Family: sys Project Status
Family: Finishes-Floor-Carpet | Family Type: Finishes-Floor-Carpet, Family: Finishes-Floor-Carpet
Family: sym - KeyPlan | Family Type: KeyPlan, Family: sym - KeyPlan
Family: z - Project Data | Family Type: Startup View, Family: z - Project Data
Family: sys - View Title | Family Type: View Title, Family: sys - View Title
Family Type: Title only, Family: sys - View Title
Family: sys - Elevation - Exterior | Family Type: 1/2" Circle, Family: sys - Elevation - Exterior
Family: sym - Callout - Elevation_Exterior (unlinked) | Family Type: Elevation Callout-unlinked, Family: sym - Callout - Elevation_Exterior (unlinked)
Family: sys - Section - Detail | Family Type: Section Head - Detail, Family: sys - Section - Detail
Family: sym - Grid with Head - (unlinked) | Family Type: Grid with Head - (unlinked), Family: sym - Grid with Head - (unlinked)
Family: sym - Callout - Section (unlinked) | Family Type: Building Section Callout - unlinked, Family: sym - Callout - Section (unlinked)
Family Type: Wall Section Callout - unlinked, Family: sym - Callout - Section (unlinked)
Family: sys - View Reference - Match Line | Family Type: View Reference, Family: sys - View Reference - Match Line
Family: sym - Callout - Elevation_Interior (Unlinked) | Family Type: Interior Elev-unlinked, Family: sym - Callout - Elevation_Interior (Unlinked)
Family: sym - Callout (unlinked) | Family Type: Callout-unlinked, Family: sym - Callout (unlinked)
Family Type: Callout-unlinked - SIM, Family: sym - Callout (unlinked)
Family: tag - Casework Callout | Family Type: Casework, Family: tag - Casework Callout
Family: tag - Detail | Family Type: Full Tag_Right Justified, Family: tag - Detail
Family Type: Full Tag_Left Justified, Family: tag - Detail
Family: Wood-Framing Section-Variable | Family Type: Blocking, Family: Wood-Framing Section-Variable
Family Type: Shim, Family: Wood-Framing Section-Variable
Family: tb - Documentation-34x44 | Family Type: ZGF Standard, Family: tb - Documentation-34x44
Family: TCORE Alignment Cube | Family Type: 05_ZGF_TCORE Roof, Family: TCORE Alignment Cube
Family: 3D Survey Point | Family Type: 3D Survey Point, Family: 3D Survey Point
Family: tb - Documentation-34x44 BLANK | Family Type: ZGF Standard, Family: tb - Documentation-34x44 BLANK
Family: Skylight_Dome_SD Oval | Family Type: Skylight_Dome_SD Oval, Family: Skylight_Dome_SD Oval
Family: Skylight_Vault_DD Low Ribbon_01 | Family Type: Skylight_Vault_DD Low Ribbon_01, Family: Skylight_Vault_DD Low Ribbon_01
Family: Skylight_Vault_DD Elliptoid_01 | Family Type: Skylight_Vault_DD Elliptoid_01, Family: Skylight_Vault_DD Elliptoid_01
Family: 12x12 mass | Family Type: 12x12 mass, Family: 12x12 mass
Family: Skylight_Vault_DD Diamond_01 | Family Type: Skylight_Vault_DD Diamond_01, Family: Skylight_Vault_DD Diamond_01
Family: SD Seam Gable 01 | Family Type: SD Seam Gable 01, Family: SD Seam Gable 01
Family Type: SD Seam Gable whole mass 01, Family: SD Seam Gable 01
Family: SD Seam Gable half-mass 01 | Family Type: SD Seam Gable half-mass 01, Family: SD Seam Gable half-mass 01
Family: EWBay_Beams | Family Type: EWBay_Beams, Family: EWBay_Beams
Family: PHBay_Beams | Family Type: PHBay_Beams, Family: PHBay_Beams
Family: NSBay_Beams | Family Type: NSBay_Beams, Family: NSBay_Beams
Family: NSBay_Flat_Beams | Family Type: NSBay_Flat_Beams, Family: NSBay_Flat_Beams
Family: EWBay_Belly Beams | Family Type: EWBay_Belly Beams, Family: EWBay_Belly Beams
Family: PHBay_BellyBeams | Family Type: PHBay_BellyBeams, Family: PHBay_BellyBeams
Family: NSBay_Belly Beams | Family Type: NSBay_Belly Beams, Family: NSBay_Belly Beams
Family: NSBay_Flat_Belly Beams | Family Type: NSBay_Flat_Belly Beams, Family: NSBay_Flat_Belly Beams
Family: NSBay_Infill_East_Belly Beam | Family Type: NSBay_Infill_East_Belly Beam, Family: NSBay_Infill_East_Belly Beam
Family: NSBay_Infill_West_Belly Beams | Family Type: NSBay_Infill_West_Belly Beams, Family: NSBay_Infill_West_Belly Beams
Family: NSBay_Infill_West_Beams | Family Type: NSBay_Infill_West_Beams, Family: NSBay_Infill_West_Beams
Family: NSBay_Infill_East_Beam | Family Type: NSBay_Infill_East_Beam, Family: NSBay_Infill_East_Beam
Family: EWBay_Decking | Family Type: EWBay_Decking, Family: EWBay_Decking
Family: PHBay_Decking | Family Type: PHBay_Decking, Family: PHBay_Decking
Family: NSBay_Decking | Family Type: NSBay_Decking, Family: NSBay_Decking
Family: NSBay_Flat_Decking | Family Type: NSBay_Flat_Decking, Family: NSBay_Flat_Decking
Family: NSBay_Infill_East_Decking | Family Type: NSBay_Infill_East_Decking, Family: NSBay_Infill_East_Decking
Family: NSBay_Infill_West_Decking | Family Type: NSBay_Infill_West_Decking, Family: NSBay_Infill_West_Decking
Family: EWBay_Roof-Buildup | Family Type: EWBay_Roof-Buildup, Family: EWBay_Roof-Buildup
Family: PHBay_Roof-Buildup | Family Type: PHBay_Roof-Buildup, Family: PHBay_Roof-Buildup
Family: NSBay_Roof-Buildup | Family Type: NSBay_Roof-Buildup, Family: NSBay_Roof-Buildup
Family: NSBay_Flat_Roof-Buildup | Family Type: NSBay_Flat_Roof-Buildup, Family: NSBay_Flat_Roof-Buildup
Family: NSBay_Infill_East_Roof-Buildup | Family Type: NSBay_Infill_East_Roof-Buildup, Family: NSBay_Infill_East_Roof-Buildup
Family: NSBay_Infill_West_Roof-Buildup | Family Type: NSBay_Infill_West_Roof-Buildup, Family: NSBay_Infill_West_Roof-Buildup
Family: Skylight_Vault_SD Oval | Family Type: Skylight_Vault_SD Oval, Family: Skylight_Vault_SD Oval
Family: AISC Wide Flange Shapes-Section | Family Type: W16X40, Family: AISC Wide Flange Shapes-Section
Family Type: W8X24, Family: AISC Wide Flange Shapes-Section
Family: Centerline | Family Type: Centerline, Family: Centerline
Family: MC_skylight mass 01 | Family Type: SD Seam Gable 01, Family: MC_skylight mass 01
Family: Rectangular to Round Transition - Angle | Family Type: 15 Degree, Family: Rectangular to Round Transition - Angle
Family Type: 45 Degree, Family: Rectangular to Round Transition - Angle
Family: Round Transition - Angle | Family Type: 15 Degree, Family: Round Transition - Angle
Family Type: 45 Degree, Family: Round Transition - Angle
Family: Round Takeoff | Family Type: Standard, Family: Round Takeoff
Family: Round Tee | Family Type: Standard, Family: Round Tee
Family: Round Union | Family Type: Standard, Family: Round Union
Family: Oval to Round Transition - Length | Family Type: Standard, Family: Oval to Round Transition - Length
Family: Round Cross | Family Type: Standard, Family: Round Cross
Family: Round Elbow | Family Type: 1.5 D, Family: Round Elbow
Family Type: 1 D, Family: Round Elbow
Family: exhaust fan_kitchen | Family Type: exhaust fan_kitchen, Family: exhaust fan_kitchen
Family: seqp - Roof Access Hatch with Guardrail | Family Type: 30" x 96", Family: seqp - Roof Access Hatch with Guardrail
Family: W Shapes-Section | Family Type: W30X116, Family: W Shapes-Section
Family: SYS - Grid Head POP STANDARD1 | Family Type: With Circle, Family: SYS - Grid Head POP STANDARD1
Family: MEPPP_Buttweld Elbow (LR)_17 | Family Type: Long Radius, Family: MEPPP_Buttweld Elbow (LR)_17
Family: MEPPP_Buttweld Coupling_17 | Family Type: Standard, Family: MEPPP_Buttweld Coupling_17
Family: Cross - Generic | Family Type: Standard, Family: Cross - Generic
Family: Elbow - Generic | Family Type: Standard, Family: Elbow - Generic
Family: Tee - Generic | Family Type: Standard, Family: Tee - Generic
Family: Coupling - Generic1 | Family Type: Standard 2, Family: Coupling - Generic1
Family: Transition - Generic1 | Family Type: Standard 2, Family: Transition - Generic1
Family: MEPPP_Buttweld Reducer_17 | Family Type: Standard, Family: MEPPP_Buttweld Reducer_17
Family: PRESSURE - BLACK STEEL - CROSS | Family Type: Standard, Family: PRESSURE - BLACK STEEL - CROSS
Family: PRESSURE - BLACK STEEL - FLANGE | Family Type: Standard, Family: PRESSURE - BLACK STEEL - FLANGE
Family: PRESSURE - BLACK STEEL - CAP | Family Type: Standard, Family: PRESSURE - BLACK STEEL - CAP
Family: MEPPP_Tee - Welded - Generic_17 | Family Type: Standard, Family: MEPPP_Tee - Welded - Generic_17
Family: 237000_AirHandler_ProgrammingCFM_2018 | Family Type: AHU-XXX, Family: 237000_AirHandler_ProgrammingCFM_2018
Family: PAE - Generic Mech Eqpm | Family Type: PAE - Generic Mech Eqpm, Family: PAE - Generic Mech Eqpm
Family: PAE - Generic Clearance Box | Family Type: PAE - Generic Clearance Box, Family: PAE - Generic Clearance Box
Family: tag - room - area - centered | Family Type: Name, Family: tag - room - area - centered
Family: EWBay_Slats_Weave | Family Type: EWBay_Slats_Weave, Family: EWBay_Slats_Weave
Family: PHBay_Slats_Weave | Family Type: PHBay_Slats_Weave, Family: PHBay_Slats_Weave
Family: NSBay_Lattice_Weave | Family Type: NSBay_Lattice_Weave, Family: NSBay_Lattice_Weave
Family: NSBay_Flat_Weave | Family Type: NSBay_Flat_Weave, Family: NSBay_Flat_Weave
Family: NSBay_Infill_East_Slats_Weave | Family Type: NSBay_Infill_East_Slats_Weave, Family: NSBay_Infill_East_Slats_Weave
Family: NSBay_Infill_West_Lattice_Weave | Family Type: NSBay_Infill_West_Lattice_Weave, Family: NSBay_Infill_West_Lattice_Weave
Family: sym - Arrow | Family Type: Open 1"=30', Family: sym - Arrow
Family: Drain Roof | Family Type: Drain Dome, Family: Drain Roof
Family: Drain - Roof | Family Type: Drain - Roof, Family: Drain - Roof
Family: Bracing Layout | Family Type: Pipes_Ducts_Bracing, Family: Bracing Layout
Family: EWBay_Beams_Cassette 05_40-feet | Family Type: EWBay_Beams_Cassette 05_40-feet, Family: EWBay_Beams_Cassette 05_40-feet
Family: EWBay_Beams_Cassette 05_20-20 | Family Type: EWBay_Beams_Cassette 05_20-20, Family: EWBay_Beams_Cassette 05_20-20
Family: Plumbing - Roof Drain - Section | Family Type: Plumbing - Roof Drain - Section, Family: Plumbing - Roof Drain - Section
Family: EWBay_Beams_Cassette 05_span 40-10 OC | Family Type: EWBay_Beams_Cassette 05_span 40-10 OC, Family: EWBay_Beams_Cassette 05_span 40-10 OC
Family: EWBay_Beams_Cassette 05_span 40-5 OC | Family Type: EWBay_Beams_Cassette 05_span 40-5 OC, Family: EWBay_Beams_Cassette 05_span 40-5 OC
Family: EWBay_Beams_Cassette 05_span 40-15 OC | Family Type: EWBay_Beams_Cassette 05_span 40-15 OC, Family: EWBay_Beams_Cassette 05_span 40-15 OC
Family: EWBay_Beams_Cassette GP-14 | Family Type: EWBay_Beams_Cassette GP-14, Family: EWBay_Beams_Cassette GP-14
Family: Girder_EW | Family Type: Girder Tray - EW, Family: Girder_EW
Family: Girder_NS | Family Type: Girder Tray - NS, Family: Girder_NS
Family: 00 00 30 - Titleblock-ANSI E 34x44-POP - 00 | Family Type: 01_Standard, Family: 00 00 30 - Titleblock-ANSI E 34x44-POP - 00
Family: 00 00 37 - Logo-Blank-I - SH | Family Type: Component, Family: 00 00 37 - Logo-Blank-I - SH
Family: 00 00 37 - Logo-PAE-I - SH | Family Type: Component, Family: 00 00 37 - Logo-PAE-I - SH
Family: 00 00 91 - Generic - Scale-Graphic-POP - SH | Family Type: 1/32" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 1" = 30'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 3/64" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 1" = 20'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 1/16" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 3/32" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 1" =10'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 1/8" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 3/16" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 1/4" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 3/8" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 1/2" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 3/4" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 1" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 1 1/2" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 3" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 6" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family Type: 12" = 1'-0", Family: 00 00 91 - Generic - Scale-Graphic-POP - SH
Family: 00 00 90 - Generic - North Arrow-POP - SH | Family Type: Component, Family: 00 00 90 - Generic - North Arrow-POP - SH
Family: 00 00 37 - Logo-KPFF-I - SH | Family Type: Component, Family: 00 00 37 - Logo-KPFF-I - SH
Family: 00 00 36 - Stamp-Nels Hall-OR-Signed - SH | Family Type: Component, Family: 00 00 36 - Stamp-Nels Hall-OR-Signed - SH
Family: 00 00 36 - Revision-POP - SH | Family Type: Revision 1, Family: 00 00 36 - Revision-POP - SH
Family Type: Revision 4, Family: 00 00 36 - Revision-POP - SH
Family Type: Revision 8, Family: 00 00 36 - Revision-POP - SH
Family Type: Revision 7, Family: 00 00 36 - Revision-POP - SH
Family Type: Revision 6, Family: 00 00 36 - Revision-POP - SH
Family Type: Revision 5, Family: 00 00 36 - Revision-POP - SH
Family Type: Revision 3, Family: 00 00 36 - Revision-POP - SH
Family Type: Revision 2, Family: 00 00 36 - Revision-POP - SH
Family Type: _Blank, Family: 00 00 36 - Revision-POP - SH
Family: 00 00 38 - KeyPlan-PACR-POP - SH | Family Type: _Blank, Family: 00 00 38 - KeyPlan-PACR-POP - SH
Family: 00 00 36 - Stamp-Not For Construction-I - SH | Family Type: Component, Family: 00 00 36 - Stamp-Not For Construction-I - SH
Family: Ducts layout | Family Type: Pipes_Ducts_Bracing, Family: Ducts layout
Family: Sprinkler layout | Family Type: Pipes_Ducts_Bracing, Family: Sprinkler layout
Family: Roof Overhangs_Project 4 | Family Type: Roof Overhangs_Project 4, Family: Roof Overhangs_Project 4
Family: Roof Overhangs_Project 1 | Family Type: Roof Overhangs_Project 1, Family: Roof Overhangs_Project 1
Family: Roof Drains | Family Type: Pipes_Ducts_Bracing, Family: Roof Drains

## Furniture
Furniture Name | Count
0